# 30.4 WATER SOURCES

## VALID PERMITS

Where the orchard draws water from a bore, well, river or stream the orchard holds appropriate regional and/or national permits and licences for water use and storage.

## COMPLIANCE WITH RESTRICTIONS

The orchard adheres to seasonal and/or permit water use restrictions as applicable. Evidence of this compliance is held on file.

# 30.5 EFFICIENT WATER USE ON-ORCHARD

## WATER USE MEASURES

Where commercially and practically possible, water is collected (e.g. rain water) and recycled provided that water safety can be sufficiently assured.

# 30.6 WATER STORAGE

## WATER STORAGE FACILITIES

Where water storage facilities are used, these comply with local Council bylaws and serve to maximise effective use of water.

## FOOD SAFETY RISKS

Where water storage facilities are used, these are monitored in accordance with the Water Quality Decision Tree (Section 30.8 in the Appendix).

# 30.7 WATER QUALITY

## WATER ANALYSIS

Water is used for drinking, irrigation, fertigation, foliar sprays, pest control, and equipment cleaning. It may come from council supply, groundwater, or surface sources.

Water Quality

- Regional Councils test and report council domestic water quality annually using accredited labs (NZ Drinking Water Standards 2008).

- Council water is guaranteed only to the delivery point; after that, quality is the landowner’s responsibility.

- The MSO tests or has test result/s available for each on-orchard water source as determined by the Water Quality Decision Tree – Appendix 36.8. If water for drinking and/or handwashing is from an off-orchard source, the same testing regime applies.

- Samples are taken from different points in the system each year (e.g., bore head, irrigation outlet, spray station).

- Records are kept for at least four years.

- Irrigation and application water risks are assessed using the Water Risk Assessment and Water Quality Decision Tree.

- Applies to irrigation, fertigation, frost protection, pest management, and drinking/handwashing water.

- Deep bore water generally carries low microbial, chemical, or physical contamination risk.

- The MSO monitors risks and increases testing if needed.

- Consistently negative test results reduce overall risk.